Operations & Maintenance

Date	Location	Summary	Parts Used	Maintenance Report
August 27, 2019	0	0	Fronius SYMODC20 PCB Board / Fronius SYMOAC20 PCB Board	0
August 27, 2019	0	0		0
August 27, 2019	0	0		0
September 10, 2019	0	0	0	0
September 10, 2019	0	Checked DV voltage across inverter #9 strings / Replaced fuse @ string 43	0	0
September 20, 2019	0	Checked inverter #5 for problems (none found) after tripping AFCI alarm / Reset inverter and confirmed normal operation		0