## Sheet1
	0%<=load<=25%	25%<load<=50%	50%<load<=75%	75%<load<=100%
Internal Battery	27	11	5.3	3.4
+1 EBM	103	48	27	20
+2 EBMs	175	88	53	38
+3 EBMs	262	123	83	54
+4 EBMs	377	167	109	80

								The label for the horiozontal axis is gravely misleading (no sense at all). Should be "Battery Unit" or similar.

						The label for vertical axis should pürobably emphasize "accumulated duratiopn" or similar.

						The settoing for "Data Ranges" was correctzed to $Sheet1.$A$1:$E$6.
5 kVA UPS unit Backup / Run Time
5594-5KX
Load [ % ]
Time [ min ]