## EMU (metric)
Estimated Measurement Uncertainty Worksheet
Temperature			Personnel			0
Temp Uncertainty	0.040°C		Work Order
CTE	1.15E-05 /K		Part Number
CTE Uncertainty	5.77E-07 /K		Serial Number
Size			Equipment
			Result
Values Calculated at Calibration	Base	Per unit length
E
PLTM
PFTU
THP

Size- or Location-dependent	TRUE	0	u(E)
Multiple Styli	TRUE	0.00000	u(PLTM)
Scanning	TRUE	0.00000	u(THP)
Form-Dependent	TRUE

		0	u(εα)
		0	u(εt)

		0.00000 mm	u
		0.00000 mm	U
Estimating CMC
For the purpose of estimating uncertainty contribution from uncertainty in CTE, the standard uncertainty of the room temperature is calculated assuming the temperature follows a u-shaped distribution within the range entered.

## EMU (English)
Estimated Measurement Uncertainty Worksheet
Temperature			Personnel			0
Temp Uncertainty	0.040°C		Work Order
CTE	1.15E-05 /K		Part Number
CTE Uncertainty	5.77E-07 /K		Serial Number
Size			Equipment
			Result
Values Calculated at Calibration	Base	Per unit length
E
PLTM
PFTU
THP

Size- or Location-dependent	TRUE	0	u(E)
Multiple Styli	TRUE	0.00000	u(PLTM)
Scanning	TRUE	0.00000	u(THP)
Form-Dependent	TRUE

		0	u(εα)
		0	u(εt)

		0.00000 in	u
		0.00000 in	U
Estimating CMC
For the purpose of estimating uncertainty contribution from uncertainty in CTE, the standard uncertainty of the room temperature is calculated assuming the temperature follows a u-shaped distribution within the range entered.