1. Under RAID Setup all RAID controllers and all VDs are shown. Click on UEFI Setup
2. When the System Information page is displayed, click on System Settings
3. Click on Storage at the bottom of the System Settings page
4. If more that one RAID controller is listed, then click on the RAID controller on which the VD is that requires slow initialisation, else click on the highlighted RAID controller
5. On the top of the page click on Main Menu for performing RAID related tasks
6. Click on Virtual Drive Management in order to manage a virtual drive
7. Select the VD that needs to be slowly initialised
8. In the Operation drop down menu select the entry Slow Intialization
9. The menu changes. Click on Go
10. Tick the box right to Confirm and then on Yes
11. A confirmation message that the action has started will be displayed. Click on OK in order get back to the previous menu
12. Under RAID Setup all RAID controllers and all VDs are shown. Click on UEFI Setup
13. When the System Information page is displayed, click on System Settings
14. Click on Storage at the bottom of the System Settings page
15. If more that one RAID controller is listed, then click on the RAID controller on which the VD is that requires slow initialisation, else click on the highlighted RAID controller
16. On the top of the page click on Main Menu for performing RAID related tasks
17. Click on Virtual Drive Management in order to manage a virtual drive
18. Select the VD that needs to be slowly initialised
19. In the Operation drop down menu select the entry Slow Intialization
20. The menu changes. Click on Go
21. Tick the box right to Confirm and then on Yes
22. A confirmation message that the action has started will be displayed. Click on OK in order get back to the previous menu