Date Received:	Received by:	Shipping Method:
Open any packaging. Note if any packing methods are suspect:
Document any serial numbers existing on the items or any indications of workpiece serial numbers or work request numbers indicated in the enclosed paperwork. Also, assign a bin number for each part to be contained in while it is in the Laboratory:
Visually inspect the items for excessive wear, damage, or foreign material, using a microscope if necessary, to ascertain the items’ condition will not impede the measurement process. If there is an issue that renders an item unsuitable for calibration that cannot be addressed through normal procedures, the customer must be consulted for further instructions. Notes:
Remove foreign material with the appropriate methods (indicate):
- Ultrasonic cleaning
- Chemical solvent rinse
- Pressurized air
Allow items to acclimate to the measurement area temperature.